[image: image1.jpg]THE HALL TRAINING CENTRE




F-GAS FAST-TRACK PRACTICE (Unit 102)
City and Guilds 2079 F-Gas Regulations
(Category I)  

All engineers required to handle HFC refrigerants must now hold this new European F-Gas qualification

This 3 day course has been designed for a selective group of experienced, installation, service and maintenance engineers whom already hold the current 2078 Safe Handling of Refrigerants certification or other qualifications recognised by the current refrigeration / air – conditioning industry. These may include NVQ 6007 – 6017 - 6087. 
The objectives of this course is to give the candidates “Hands-on” practice in all aspects of the City & Guilds 2079 F-Gas test specification for “Practical” assessment. 
It is advised that the attending candidates already hold (101) Fast Track Knowledge in F Gas and ODS Regulations before attending this training programme

Successful completion will involve Centre Observation of Practical Competency with immediate feedback as to result. 
PROGRAMME: 

PRACTICAL:

· Brazing and flaring of joints in pipe-work, for installation into a system.
· Strength testing of pipe-work prior to installation. 
· Tightness testing of pipe-work on system.
· Evacuation & Dehydration of system.
· Charge a zeotropic blend into a system. 
· Determine charge weight sufficient by readings 
· “Indirect” leak checking from readings taken. 
· “Direct” leak checking using electronic leak detector.
· Recovery of refrigerant from the system.
· Drain and safe disposal of oil from a system compressor.
· Completion of all certificates, waste transfer notes and system records required throughout all operations.  
North West Kent College Refrigeration ● Air Conditioning ● Allied Technologies


