[image: image1.jpg]THE HALL TRAINING CENTRE




F-GAS COMBINATION (Unit 101 & 102)
City and Guilds 2079 F-Gas Regulations
(Category I)  

All engineers required to handle HFC refrigerants must now hold this new European F-Gas qualification

This 4½ day course is designed for a selective group of experienced installation, service and maintenance engineers whom already hold the current 2078 Safe Handling of Refrigerants certification or other qualifications recognised in the current refrigeration / air – conditioning industry. These may include NVQ 6007 – 6017 -6087. The objectives of the course are to combine both the Knowledge and Practical assessment process as required for certification to City and Guilds 2079 F-Gas Regulations.

Successful completion will involve an On-line Knowledge assessment and Centre Observation of Practical competency.

PROGRAMME: 

KNOWLEDGE:
Instruction is given in all aspects of the basic principles and operational efficiency underlying refrigeration / air conditioning systems in preparation for the GOLA multi choice knowledge assessment. Subjects covered include:
· Standard SI units of measurement.
· Basic theory of refrigeration, use of pH diagrams, function of components, condition of refrigerant within the circuit and system operation conditions.

· System monitoring and indications of leakage.

·  The effects of HFC’s and HFC systems on the environment and energy efficiency.

· Equipment record requirements.

· Potential leakage points.

· Handling of contaminated refrigerant and oil.

· Leakage risks of system components

· Knowledge of HCFC refrigerants and their environmental effects.    

PRACTICAL:

· Brazing of joints in copper pipe-work for installation into a system.
· Strength testing of pipe-work prior to installation.
· Tightness testing of system.
· Evacuation & Dehydration of system.
· Charge a zeotropic blend into a system. Determine charge weight sufficient by readings, “Indirect” leak checking & “Direct” leak checking using electronic leak detector.
· Recovery of refrigerant from the system.
· Draining and correct disposal of oil from a system compressor.
· Completion of all certificates and records required throughout operations.  
Unlike many assessment centres, there will be no additional costs for candidates who need to re-sit the knowledge or practical assessment.


