[image: image1.jpg]THE HALL TRAINING CENTRE



 
F-GAS PRACTICE (Unit 102)
City and Guilds 2079 F-Gas Regulations
(Category I)  

All engineers required to handle HFC refrigerants must now hold this new European F-Gas qualification

This 4½ day course is designed for a group of engineers who may not necessarily be experienced in refrigeration practices but may be called upon to attempt service or repair of equipment in the event of breakdown. EU legislation now makes it necessary that all refrigeration/air-conditioning service or repair work is only performed by “certified persons”. This programme covers practical “hands-on” training in all of the competencies required for successful certification to City & Guilds 2079 F-Gas Unit 102 Refrigeration Practices. 

Successful completion will involve the candidate undertaking a Centre Observation of Practical Competence with final feedback as to result.

It is strongly advised that the attending candidates already hold Unit 101 Knowledge in F Gas and ODS Regulations before attending this training programme

PROGRAMME: 

PRACTICAL:

· Brazing and flaring of joints in pipe-work, for installation into a system.
· Strength testing of brazed pipe-work. 
· Tightness testing of system.
· Evacuation of system.
· Charge a zeotropic blend into a system. 
· Determine charge weight sufficient by readings. 
· “Indirect” leak checking from readings taken. 
· “Direct” leak checking using electronic leak detector.
· Recovery of refrigerant from the system.
· Drain and correct disposal of oil from a system compressor.
· Completion of all waste transfer notes, certificates and records required throughout all operations.  
Unlike many assessment centres, there will be no additional costs for candidates who need to re-sit the knowledge or practical assessment.


